| JAMIESON AUTOMATION Smart-home · Starlink · WiFi · Security | jamiesonautomation.com (252) ___-____ |
| --- | --- |

INSTALL & SUPPORT CHECKLIST — Rental-Ready Tech Package

One field document per door. Complete in order: site readiness → install & test → handoff. File a copy with the warranty tracker.

| Property / address: ______________________ Property manager: _______________________ Package: ☐ Essentials ☐ Plus ☐ Pro | Job #: ____________ Date: ___/___/2026 Technician: _____________________________ Owner Starlink acct on file: ☐ Yes ☐ N/A |
| --- | --- |

1 · Pre-Install Site & Readiness Check

Run this before the truck is loaded. A failed item here is a callback later.

Connectivity & power

| ☐ | Internet path confirmed. Existing ISP working, OR owner Starlink account active / ready to activate on install day. |
| --- | --- |
| ☐ | WiFi signal at every door & camera location. Walk it with a phone; note dead spots that need an added AP. |
| ☐ | Power available where gear mounts. Outlets near gateway/switch location; PoE will power APs/cameras. |
| ☐ | Sky view for Starlink (Plus/Pro). Clear south-facing view; identify mount point (eave / roof / ridge) and cable entry. |

Access, doors & mounting

| ☐ | Door type & condition checked (per lock). Deadbolt size, door thickness, square/out-of-square — OBX doors often need shimming. |
| --- | --- |
| ☐ | Camera mount points identified. Entries + driveway; exterior-only; junction box / cable path noted. |
| ☐ | Cable routing planned. Attic/crawl/exterior runs; outdoor-rated where exposed; entry seal points. |
| ☐ | Property access arranged. Lockbox code / owner meet / PM key; alarm disarm if present. |

Account & paperwork

| ☐ | Signed proposal / package confirmed. Tier and quantities match the Investment Summary. |
| --- | --- |
| ☐ | Hardware ordered & received. Cross-check against the BOM; serials will be logged at install. |
| ☐ | Owner/PM logins ready. Email for app invites; Airbnb/Vrbo or PMS access for code automation. |
| ☐ | Guest-disclosure plan for cameras. Owner/PM aware exterior cameras must be disclosed to guests. |

Pre-install sign-off:  Tech ____________________   Date ___/___/2026

2 · Install, Test & Handoff

Work top-down: network first (everything depends on it), then devices, then test and document.

Network (do this first)

| ☐ | Gateway installed & online. UCG-Ultra placed, powered, WAN up (ISP or Starlink hardwired via Ethernet adapter). |
| --- | --- |
| ☐ | Switch + access points mounted. PoE switch; APs positioned for full coverage per the site walk. |
| ☐ | Separate guest WiFi + isolated IoT/camera VLAN. Guest network named & secured; cameras/locks on isolated network. |
| ☐ | Firmware updated on all gear. Gateway, APs, switch, cameras to current stable firmware. |
| ☐ | Coverage verified at every room & door. Speed/own-signal check; no dead spots; note results below. |

Starlink (Plus / Pro)

| ☐ | Dish mounted & aligned, obstruction check clean. Eave/roof/ridge per plan; Starlink app obstruction = none/low. |
| --- | --- |
| ☐ | Cable run sealed at entry. Weatherproof entry; hardwired to gateway via Ethernet adapter. |
| ☐ | Failover tested. Confirm auto-failover behavior if primary ISP also present. |

Devices

| ☐ | Smart lock installed & aligned. Bolt throws cleanly; door closes/locks without force; batteries fresh. |
| --- | --- |
| ☐ | Per-guest code scheme set + auto-expire. Test code created and verified; PMS/Airbnb auto-codes linked. |
| ☐ | Cameras mounted, focused, motion zones set. Exterior-only; entries/driveway framed; night view checked. |
| ☐ | Smart thermostat installed & app-controlled (Plus/Pro). C-wire/compatibility confirmed; remote setpoint tested. |
| ☐ | Video doorbell installed & chimes (Pro). Button, video, two-way audio, notification all working. |

Test & document

| ☐ | All devices online in one dashboard. UniFi/app shows every device healthy. |
| --- | --- |
| ☐ | Remote access verified from off-site. Confirm you can reach the system remotely for support. |
| ☐ | Serials logged in warranty tracker. Item, serial, install date, term recorded — see companion sheet. |
| ☐ | Photos taken (each device + mounts). For records, warranty, and the customer file. |
| ☐ | Old/removed hardware handled. Returned to owner or hauled per agreement. |

Install complete & tested:  Tech ____________________   Date ___/___/2026

3 · Customer Walkthrough & Handoff

Walk the owner/PM through each item below, then capture sign-off. Leave them a copy.

What we installed — quick reference

| System | How you use it / what to know |
| --- | --- |
| Internet / WiFi | Network names + where to find passwords; guest WiFi; what to do if it's slow (and that we monitor it). |
| Starlink backup | What it does in an outage; that monthly service is billed by Starlink to the owner. |
| Smart lock | Creating/expiring guest codes; battery life & low-battery alerts; manual key backup. |
| Cameras | What they cover (exterior only); live view & clips; guest-disclosure reminder. |
| Thermostat | Remote setpoint between guests; any schedules set. |
| Doorbell (Pro) | Notifications, two-way talk, clip history. |
| Support | How to reach us; what the Managed Plan covers; response expectations. |

Confirmed with customer

| ☐ | Customer can create and expire a guest code themselves |
| --- | --- |
| ☐ | Customer has all app logins and can view cameras + system |
| ☐ | Customer understands battery/maintenance and how to reach support |
| ☐ | Customer received warranty terms (90-day workmanship + mfr pass-through) |
| ☐ | Managed Plan explained (monitoring, updates, code mgmt, storm checks) |

| Customer (Owner / PM) Signature / Date | Jamieson Automation Technician / Date |
| --- | --- |

A signed copy is kept in the customer file and paired with the warranty tracker for this property.